## Test Cell 1a Summary
CLNR Test Cell 1a: Basic Profiling of Regular (Domestic) Smart Meter Customers
Description: | Monitoring of customers' overall consumption using British Gas' existing Smart Metering Population
Purpose: | Allows network operator to understand in more detail energy usage across the day and how this varies with demographic profile. This also acts as a control cell for the CLNR trial
Customer numbers: | Aggregated data for up to 8,000 customers for the years 2011 (May 2011-April 2012) and 2012 (May 2012-April 2013)
Data Source: | British Gas Smart Metering 30 minute data
Table of Contents
Reference | Content
Tariff band descriptor | Table of tariff bands used in the analysis of customers' consumption splits
Monthly consumption Splits | Mean daily tariff band consumptions averaged across the month. Absolute and percentage breakdowns are indicated
Seasonal consumption Splits | Averaged seasonal daily tariff band consumptions. Absolute and percentage breakdowns are indicated.
Weekday vs weekend consumption Splits | Weekday daily tariff band consumptions averaged across the whole year. Absolute and percentage breakdowns are indicated.
Copyright Northern Powergrid (Northeast) Limited, Northern Powergrid (Yorkshire) Plc, British Gas Trading Limited and the University of Durham, 2014

## Tariff band descriptor
Tariff band descriptor
Note: TC1a customers remained on their existing tariffs throughout the monitoring period. The breakdown of customers' consumption by tariff band is useful for comparison to test cells where an alternative tariff e.g. time of use has been applied (TC9a).
Tariff band | Times
Day | 07:00 – 16:00
Peak | 16:00 – 20:00
Off Peak | 20:00 – 07:00

## Monthly consumption splits
Daily mean, maximum and minimum consumption in kWh averaged across the group by tariff band and for the month indicated
Statistic | Year | Month | Day | Off peak | Peak | % Day | % Off peak | % Peak
Mean | 2011 | January | 4.4389 | 3.8004 | 3.1081 | 39.1183 | 33.4914 | 27.3902
Mean | 2011 | October | 3.648 | 3.5462 | 2.3348 | 38.2829 | 37.2152 | 24.5019
Mean | 2011 | November | 4.028 | 3.5949 | 2.9184 | 38.2117 | 34.1028 | 27.6856
Mean | 2011 | December | 4.6819 | 3.9283 | 3.165 | 39.7605 | 33.3611 | 26.8784
Mean | 2011 | February | 4.3406 | 3.8319 | 2.9339 | 39.0818 | 34.5015 | 26.4167
Mean | 2011 | March | 3.7369 | 3.5414 | 2.4064 | 38.5857 | 36.5669 | 24.8474
Mean | 2011 | April | 3.8528 | 3.5606 | 2.2431 | 39.8984 | 36.8726 | 23.229
Mean | 2011 | May | 3.3981 | 3.2424 | 1.9752 | 39.441 | 37.634 | 22.9251
Mean | 2011 | June | 3.2558 | 3.1593 | 1.8799 | 39.25 | 38.0871 | 22.6629
Mean | 2011 | July | 3.2718 | 3.1772 | 1.8474 | 39.4369 | 38.2958 | 22.2673
Mean | 2011 | August | 3.2979 | 3.2813 | 1.8816 | 38.9785 | 38.7822 | 22.2394
Mean | 2011 | September | 3.3688 | 3.409 | 2.0213 | 38.2862 | 38.7423 | 22.9715
Mean | 2012 | January | 4.52 | 3.8533 | 3.104 | 39.3822 | 33.5733 | 27.0445
Mean | 2012 | October | 3.7183 | 3.5434 | 2.4011 | 38.4806 | 36.6704 | 24.849
Mean | 2012 | November | 4.0971 | 3.5845 | 2.9081 | 38.6896 | 33.8491 | 27.4613
Mean | 2012 | December | 4.7212 | 3.901 | 3.1211 | 40.2031 | 33.2192 | 26.5777
Mean | 2012 | February | 4.3686 | 3.7868 | 2.9215 | 39.4393 | 34.1862 | 26.3746
Mean | 2012 | March | 4.3033 | 3.7651 | 2.7389 | 39.8184 | 34.8385 | 25.343
Mean | 2012 | April | 3.707 | 3.5435 | 2.1407 | 39.4732 | 37.7319 | 22.7949
Mean | 2012 | May | 3.4384 | 3.3293 | 1.996 | 39.2347 | 37.9899 | 22.7754
Mean | 2012 | June | 3.3934 | 3.1984 | 1.9603 | 39.679 | 37.3991 | 22.9218
Mean | 2012 | July | 3.3093 | 3.1783 | 1.8891 | 39.5059 | 37.9419 | 22.5523
Mean | 2012 | August | 3.2369 | 3.2029 | 1.8337 | 39.1242 | 38.7125 | 22.1633
Mean | 2012 | September | 3.3673 | 3.3461 | 2.0161 | 38.5738 | 38.3306 | 23.0955
Max | 2011 | January | 42.763 | 45.8246 | 26.9312 | 37.0182 | 39.6685 | 23.3133
Max | 2011 | October | 23.8225 | 36.6939 | 11.4549 | 33.1 | 50.9842 | 15.9159
Max | 2011 | November | 29.3631 | 32.7789 | 14.6579 | 38.2332 | 42.681 | 19.0858
Max | 2011 | December | 43.916 | 49.5706 | 21.7898 | 38.0963 | 43.0015 | 18.9022
Max | 2011 | February | 44.827 | 53.062 | 26.8225 | 35.9445 | 42.5478 | 21.5077
Max | 2011 | March | 29.2559 | 38.6184 | 19.2659 | 33.5733 | 44.3175 | 22.1091
Max | 2011 | April | 29.0735 | 37.4423 | 18.0253 | 34.3898 | 44.2889 | 21.3214
Max | 2011 | May | 27.6907 | 29.0394 | 14.4313 | 38.9125 | 40.8078 | 20.2797
Max | 2011 | June | 23.0236 | 25.9685 | 11.628 | 37.9801 | 42.8381 | 19.1818
Max | 2011 | July | 25.5496 | 28.6889 | 13.4686 | 37.7355 | 42.372 | 19.8925
Max | 2011 | August | 26.1577 | 34.5711 | 13.7084 | 35.1406 | 46.4433 | 18.4161
Max | 2011 | September | 30.0414 | 26.5407 | 17.436 | 40.5866 | 35.8571 | 23.5564
Max | 2012 | January | 42.9674 | 50.2018 | 23.8166 | 36.7287 | 42.9127 | 20.3586
Max | 2012 | October | 27.043 | 36.7535 | 16.2819 | 33.7706 | 45.8969 | 20.3324
Max | 2012 | November | 27.4531 | 29.173 | 19.6416 | 35.9957 | 38.2508 | 25.7535
Max | 2012 | December | 50.7787 | 44.672 | 22.0404 | 43.2191 | 38.0216 | 18.7592
Max | 2012 | February | 53.5465 | 49.3527 | 23.6861 | 42.3007 | 38.9877 | 18.7116
Max | 2012 | March | 51.5055 | 50.7585 | 23.7002 | 40.889 | 40.296 | 18.815
Max | 2012 | April | 34.579 | 46.1433 | 14.388 | 36.3567 | 48.5156 | 15.1277
Max | 2012 | May | 34.0109 | 39.8023 | 15.2287 | 38.1965 | 44.7006 | 17.1029
Max | 2012 | June | 32.9192 | 33.6609 | 18.588 | 38.6521 | 39.5228 | 21.8251
Max | 2012 | July | 23.9002 | 31.0075 | 13.2745 | 35.0534 | 45.4774 | 19.4692
Max | 2012 | August | 25.0265 | 30.4186 | 11.7031 | 37.2706 | 45.3006 | 17.4288
Max | 2012 | September | 32.3148 | 33.2222 | 18.6335 | 38.3921 | 39.4701 | 22.1378
Min | 2011 | January | 0.078469 | 0.085665 | 0.035822 | 39.2431 | 42.8419 | 17.9149
Min | 2011 | October | 0.027289 | 0.033417 | 0.011835 | 37.6185 | 46.0665 | 16.315
Min | 2011 | November | 0.029382 | 0.036325 | 0.012993 | 37.334 | 46.1564 | 16.5097
Min | 2011 | December | 0.039309 | 0.04133 | 0.014483 | 41.3253 | 43.4494 | 15.2253
Min | 2011 | February | 0.081102 | 0.11481 | 0.038051 | 34.6649 | 49.071 | 16.2641
Min | 2011 | March | 0.082645 | 0.093838 | 0.029355 | 40.1505 | 45.5884 | 14.2611
Min | 2011 | April | 0.01875 | 0.040639 | 0.0085 | 27.6188 | 59.8607 | 12.5205
Min | 2011 | May | 0.027943 | 0.032521 | 0.011771 | 38.6829 | 45.0213 | 16.2958
Min | 2011 | June | 0.026966 | 0.032541 | 0.011963 | 37.7309 | 45.5309 | 16.7382
Min | 2011 | July | 0.025789 | 0.030951 | 0.011704 | 37.6797 | 45.2208 | 17.0996
Min | 2011 | August | 0.026454 | 0.031216 | 0.011531 | 38.2273 | 45.1093 | 16.6633
Min | 2011 | September | 0.02744 | 0.032967 | 0.011679 | 38.0659 | 45.733 | 16.2011
Min | 2012 | January | 0.017267 | 0.020851 | 0.0081783 | 37.2962 | 45.0385 | 17.6653
Min | 2012 | October | 0.091368 | 0.11254 | 0.040789 | 37.3385 | 45.9925 | 16.669
Min | 2012 | November | 0.028526 | 0.041329 | 0.037448 | 26.5843 | 38.516 | 34.8997
Min | 2012 | December | 0.0182 | 0.031142 | 0.008 | 31.7396 | 54.309 | 13.9515
Min | 2012 | February | 0.017283 | 0.022547 | 0.0077525 | 36.3219 | 47.3856 | 16.2926
Min | 2012 | March | 0.023453 | 0.026401 | 0.012845 | 37.4052 | 42.1076 | 20.4872
Min | 2012 | April | 0.031055 | 0.038219 | 0.013191 | 37.6588 | 46.3459 | 15.9954
Min | 2012 | May | 0.089516 | 0.10939 | 0.039452 | 37.5558 | 45.8925 | 16.5516
Min | 2012 | June | 0.09105 | 0.10291 | 0.0373 | 39.3707 | 44.5005 | 16.1288
Min | 2012 | July | 0.072459 | 0.098575 | 0.03605 | 34.99 | 47.6016 | 17.4084
Min | 2012 | August | 0.045504 | 0.098385 | 0.020091 | 27.7499 | 59.9982 | 12.2518
Min | 2012 | September | 0.058893 | 0.11036 | 0.035783 | 28.7226 | 53.8258 | 17.4516

## Seasonal consumption splits
Daily mean, maximum and minimum consumption in kWh averaged across the group by tariff band by Elexon season
Statistic | Year | Month | Day | Off peak | Peak | % Day | % Off peak | % Peak
Mean | 2011 | Autumn | 3.4986 | 3.4977 | 2.1862 | 38.101 | 38.0904 | 23.8085
Mean | 2011 | Highsummer | 3.3079 | 3.2593 | 1.8619 | 39.2439 | 38.6675 | 22.0886
Mean | 2011 | spring | 3.3147 | 3.2653 | 1.9437 | 38.888 | 38.3082 | 22.8037
Mean | 2011 | summer | 3.3062 | 3.203 | 1.9087 | 39.2755 | 38.0502 | 22.6744
Mean | 2011 | winter | 4.2634 | 3.7348 | 2.9216 | 39.043 | 34.2023 | 26.7547
Mean | 2012 | Autumn | 3.49 | 3.4429 | 2.1704 | 38.3379 | 37.8198 | 23.8423
Mean | 2012 | Highsummer | 3.2508 | 3.1975 | 1.8226 | 39.3043 | 38.6597 | 22.036
Mean | 2012 | spring | 3.6188 | 3.4683 | 2.1595 | 39.1366 | 37.5088 | 23.3546
Mean | 2012 | summer | 3.3671 | 3.2144 | 1.9414 | 39.5065 | 37.7147 | 22.7789
Mean | 2012 | winter | 4.3879 | 3.7688 | 2.9419 | 39.536 | 33.9571 | 26.5068
Max | 2011 | Autumn | 23.4222 | 28.2324 | 11.0249 | 37.3682 | 45.0425 | 17.5892
Max | 2011 | Highsummer | 26.1633 | 32.9355 | 12.4931 | 36.545 | 46.0045 | 17.4504
Max | 2011 | spring | 22.0913 | 29.887 | 11.8086 | 34.633 | 46.8544 | 18.5126
Max | 2011 | summer | 23.2414 | 25.6444 | 11.644 | 38.3967 | 42.3665 | 19.2368
Max | 2011 | winter | 40.4198 | 47.1839 | 25.1849 | 35.8368 | 41.834 | 22.3293
Max | 2012 | Autumn | 27.0306 | 34.107 | 15.8727 | 35.1 | 44.2888 | 20.6112
Max | 2012 | Highsummer | 24.1159 | 30.4259 | 12.1158 | 36.1788 | 45.645 | 18.1761
Max | 2012 | spring | 36.3522 | 42.5887 | 16.0297 | 38.2773 | 44.8441 | 16.8786
Max | 2012 | summer | 26.422 | 32.902 | 17.9437 | 34.1954 | 42.5818 | 23.2227
Max | 2012 | winter | 48.8346 | 44.6954 | 21.7701 | 42.3544 | 38.7644 | 18.8813
Min | 2011 | Autumn | 0.027385 | 0.033209 | 0.011883 | 37.784 | 45.8207 | 16.3953
Min | 2011 | Highsummer | 0.026413 | 0.031396 | 0.011528 | 38.0938 | 45.2802 | 16.626
Min | 2011 | spring | 0.028097 | 0.032012 | 0.011996 | 38.9668 | 44.3959 | 16.6372
Min | 2011 | summer | 0.026819 | 0.032062 | 0.011771 | 37.9595 | 45.3802 | 16.6602
Min | 2011 | winter | 0.031734 | 0.037513 | 0.013247 | 38.4678 | 45.474 | 16.0582
Min | 2012 | Autumn | 0.058582 | 0.093446 | 0.035867 | 31.1779 | 49.7332 | 19.0888
Min | 2012 | Highsummer | 0.047005 | 0.098926 | 0.019421 | 28.4273 | 59.8274 | 11.7453
Min | 2012 | spring | 0.068727 | 0.074775 | 0.029909 | 39.6326 | 43.1199 | 17.2475
Min | 2012 | summer | 0.09149 | 0.11117 | 0.037819 | 38.0446 | 46.2289 | 15.7265
Min | 2012 | winter | 0.019587 | 0.03697 | 0.0097723 | 29.5302 | 55.737 | 14.7329

## Weekday vs weekend consumption
Maximum, minimum and mean weekend and weekday consumption in kWh by tariff band over the respective years
The year indicative 2011 starts at May 2011 - April 2012. The year indicative 2012 starts May 2012 - April 2013
|  |  | Day | Off peak | Peak
Max | 2011 | weekend | 36.6077 | 42.2889 | 24.8531
Max | 2012 | weekend | 33.2162 | 34.9176 | 16.1654
Max | 2011 | weekday | 35.3604 | 41.7627 | 21.8548
Max | 2012 | weekday | 35.834 | 34.6567 | 15.4635
Mean | 2011 | weekend | 4.3767 | 3.5359 | 2.5263
Mean | 2012 | weekend | 4.2635 | 3.4983 | 2.439
Mean | 2011 | weekday | 3.6955 | 3.5816 | 2.4728
Mean | 2012 | weekday | 3.657 | 3.529 | 2.3733
Min | 2011 | weekend | 0.028308 | 0.033029 | 0.012116
Min | 2012 | weekend | 0.021166 | 0.046683 | 0.014834
Min | 2011 | weekday | 0.027701 | 0.033317 | 0.012009
Min | 2012 | weekday | 0.018837 | 0.032694 | 0.0078879