## Test Cell 11a(WWG) Summary
CLNR Test Cell 11a: Domestic customers on the smart washing machine direct control trial
Description: | Direct control of a Wet White Good (e.g. Washing Machine) which will be provided free of charge
Purpose: | Testing the impact of direct control to move energy usage away from periodic network peaks to manage the grid loads
Customer numbers: | 96 machines monitored, although some did not return data or did not receive DSR signal (see "Machine Status" sheet for a breakdown)
Data Source: | Machine status reports sent via GreenCom system
Table of Contents
Reference | Content
Notes | Description of the datasets
Machine status | Summarises status of WWGs for each event
11a-Trialdays-All | Average power (kW) used by all washing machines within TC11aWWG for which we have data, on DSR event days
11a-Trialdays-Received | Average power (kW) used by those washing machines within TC11aWWG which received the DSR signal successfully, on DSR event days
11a-Controldays-All | Average power (kW) used by all washing machines within TC11aWWG for which we have data, on a set of control days when DSR events did not occur
11a-Controldays-Received | Average power (kW) used by washing machines within TC11aWWG that did receive DSR events on at least some days, on a set of control days when DSR events did not occur
2a-Trialdays | Average power used by WetAppliances within TC2a, for the DSR event days used above
2a-Controldays | Average power used by WetAppliances within TC2a, for the control days used above
Copyright Northern Powergrid (Northeast) Limited, Northern Powergrid (Yorkshire) Plc, British Gas Trading Limited and the University of Durham, 2014

## Notes
Notes
The power datasets contain the following columns:
| Dates | Dates over which observations have been taken, in Python list syntax (dates held as strings within ' characters, separated by commas)
| Time | Time (GMT) from which the observations are recorded (observations are averages for the time period starting at the "time" reading, to the following "time" reading
| Mean | Mean of the parameter (power in kW)
| SE | Standard error of the mean estimation
| p5 | 5th percentile power reading
| p50 | Median power reading
| p95 | 95th percentile power reading
| n | Sample size (number of customer-days)
All power datasets include:
- Average power per half-hour period (48 periods), followed by…
- average power per four-hour period (6 periods)

## Machine Status
Machine status | 2014-03-11 | 2014-03-12 | 2014-03-13 | 2014-03-14 | 2014-03-17 | 2014-03-18 | 2014-03-19 | 2014-03-20 | 2014-03-26 | 2014-03-28 | 2014-03-31
DSR signal not received | 51 | 54 | 31 | 31 | 29 | 31 | 38 | 28 | 29 | 29 | 36
Event received, no data to determine machine status | 7 | 6 | 24 | 23 | 24 | 24 | 18 | 27 | 24 | 24 | 20
Event received, machine ran anyway | 5 | 4 | 5 | 2 | 2 | 1 | 3 | 3 | 5 | 6 | 6
Event received, machine continued to run | 1 | 2 | 0 | 1 | 1 | 1 | 2 | 2 | 0 | 0 | 2
Event received, machine did not run | 29 | 28 | 35 | 38 | 38 | 37 | 34 | 34 | 36 | 35 | 32
Event received, machine set to wait | 3 | 2 | 1 | 1 | 2 | 2 | 1 | 2 | 2 | 2 | 0

## 11a-Trialdays-All
Dates | Time | Mean | SE | p5 | p50 | p95 | n
['11/03/2014', '12/03/2014', '13/03/2014', '14/03/2014', '17/03/2014', '18/03/2014', '19/03/2014', '20/03/2014', '26/03/2014', '28/03/2014', '31/03/2014'] | 0:00 | 0.0054915 | 0.0021549 | 0.0009 | 0.0009 | 0.0009 | 555
['11/03/2014', '12/03/2014', '13/03/2014', '14/03/2014', '17/03/2014', '18/03/2014', '19/03/2014', '20/03/2014', '26/03/2014', '28/03/2014', '31/03/2014'] | 0:30 | 0.0023429 | 0.00057073 | 0.0009 | 0.0009 | 0.0009 | 555
['11/03/2014', '12/03/2014', '13/03/2014', '14/03/2014', '17/03/2014', '18/03/2014', '19/03/2014', '20/03/2014', '26/03/2014', '28/03/2014', '31/03/2014'] | 1:00 | 0.0036639 | 0.0021322 | 0.0009 | 0.0009 | 0.0009 | 555
['11/03/2014', '12/03/2014', '13/03/2014', '14/03/2014', '17/03/2014', '18/03/2014', '19/03/2014', '20/03/2014', '26/03/2014', '28/03/2014', '31/03/2014'] | 1:30 | 0.0013235 | 0.00026212 | 0.0009 | 0.0009 | 0.0009 | 555
['11/03/2014', '12/03/2014', '13/03/2014', '14/03/2014', '17/03/2014', '18/03/2014', '19/03/2014', '20/03/2014', '26/03/2014', '28/03/2014', '31/03/2014'] | 2:00 | 0.0010872 | 0.00017968 | 0.0009 | 0.0009 | 0.0009 | 555
['11/03/2014', '12/03/2014', '13/03/2014', '14/03/2014', '17/03/2014', '18/03/2014', '19/03/2014', '20/03/2014', '26/03/2014', '28/03/2014', '31/03/2014'] | 2:30 | 0.0010969 | 0.00019119 | 0.0009 | 0.0009 | 0.0009 | 555
['11/03/2014', '12/03/2014', '13/03/2014', '14/03/2014', '17/03/2014', '18/03/2014', '19/03/2014', '20/03/2014', '26/03/2014', '28/03/2014', '31/03/2014'] | 3:00 | 0.00090819 | 6.154e-06 | 0.0009 | 0.0009 | 0.0009 | 555
['11/03/2014', '12/03/2014', '13/03/2014', '14/03/2014', '17/03/2014', '18/03/2014', '19/03/2014', '20/03/2014', '26/03/2014', '28/03/2014', '31/03/2014'] | 3:30 | 0.00090559 | 5.5806e-06 | 0.0009 | 0.0009 | 0.0009 | 555
['11/03/2014', '12/03/2014', '13/03/2014', '14/03/2014', '17/03/2014', '18/03/2014', '19/03/2014', '20/03/2014', '26/03/2014', '28/03/2014', '31/03/2014'] | 4:00 | 0.0009095 | 6.8062e-06 | 0.0009 | 0.0009 | 0.0009 | 555
['11/03/2014', '12/03/2014', '13/03/2014', '14/03/2014', '17/03/2014', '18/03/2014', '19/03/2014', '20/03/2014', '26/03/2014', '28/03/2014', '31/03/2014'] | 4:30 | 0.00090726 | 5.8234e-06 | 0.0009 | 0.0009 | 0.0009 | 555
['11/03/2014', '12/03/2014', '13/03/2014', '14/03/2014', '17/03/2014', '18/03/2014', '19/03/2014', '20/03/2014', '26/03/2014', '28/03/2014', '31/03/2014'] | 5:00 | 0.00090559 | 5.5806e-06 | 0.0009 | 0.0009 | 0.0009 | 555
['11/03/2014', '12/03/2014', '13/03/2014', '14/03/2014', '17/03/2014', '18/03/2014', '19/03/2014', '20/03/2014', '26/03/2014', '28/03/2014', '31/03/2014'] | 5:30 | 0.0010266 | 0.00012101 | 0.0009 | 0.0009 | 0.0009 | 555
['11/03/2014', '12/03/2014', '13/03/2014', '14/03/2014', '17/03/2014', '18/03/2014', '19/03/2014', '20/03/2014', '26/03/2014', '28/03/2014', '31/03/2014'] | 6:00 | 0.0081412 | 0.0032619 | 0.0009 | 0.0009 | 0.0009 | 555
['11/03/2014', '12/03/2014', '13/03/2014', '14/03/2014', '17/03/2014', '18/03/2014', '19/03/2014', '20/03/2014', '26/03/2014', '28/03/2014', '31/03/2014'] | 6:30 | 0.01543 | 0.0045795 | 0.0009 | 0.0009 | 0.0009 | 555
['11/03/2014', '12/03/2014', '13/03/2014', '14/03/2014', '17/03/2014', '18/03/2014', '19/03/2014', '20/03/2014', '26/03/2014', '28/03/2014', '31/03/2014'] | 7:00 | 0.02566 | 0.0063983 | 0.0009 | 0.0009 | 0.0035079 | 555
['11/03/2014', '12/03/2014', '13/03/2014', '14/03/2014', '17/03/2014', '18/03/2014', '19/03/2014', '20/03/2014', '26/03/2014', '28/03/2014', '31/03/2014'] | 7:30 | 0.021668 | 0.0056245 | 0.0009 | 0.0009 | 0.074553 | 555
['11/03/2014', '12/03/2014', '13/03/2014', '14/03/2014', '17/03/2014', '18/03/2014', '19/03/2014', '20/03/2014', '26/03/2014', '28/03/2014', '31/03/2014'] | 8:00 | 0.035388 | 0.0069371 | 0.0009 | 0.0009 | 0.14785 | 555
['11/03/2014', '12/03/2014', '13/03/2014', '14/03/2014', '17/03/2014', '18/03/2014', '19/03/2014', '20/03/2014', '26/03/2014', '28/03/2014', '31/03/2014'] | 8:30 | 0.025494 | 0.005668 | 0.0009 | 0.0009 | 0.11034 | 555
['11/03/2014', '12/03/2014', '13/03/2014', '14/03/2014', '17/03/2014', '18/03/2014', '19/03/2014', '20/03/2014', '26/03/2014', '28/03/2014', '31/03/2014'] | 9:00 | 0.022181 | 0.0048119 | 0.0009 | 0.0009 | 0.11969 | 555
['11/03/2014', '12/03/2014', '13/03/2014', '14/03/2014', '17/03/2014', '18/03/2014', '19/03/2014', '20/03/2014', '26/03/2014', '28/03/2014', '31/03/2014'] | 9:30 | 0.028008 | 0.0058195 | 0.0009 | 0.0009 | 0.14134 | 555
['11/03/2014', '12/03/2014', '13/03/2014', '14/03/2014', '17/03/2014', '18/03/2014', '19/03/2014', '20/03/2014', '26/03/2014', '28/03/2014', '31/03/2014'] | 10:00 | 0.025934 | 0.0060422 | 0.0009 | 0.0009 | 0.096437 | 555
['11/03/2014', '12/03/2014', '13/03/2014', '14/03/2014', '17/03/2014', '18/03/2014', '19/03/2014', '20/03/2014', '26/03/2014', '28/03/2014', '31/03/2014'] | 10:30 | 0.018617 | 0.0045731 | 0.0009 | 0.0009 | 0.066877 | 555
['11/03/2014', '12/03/2014', '13/03/2014', '14/03/2014', '17/03/2014', '18/03/2014', '19/03/2014', '20/03/2014', '26/03/2014', '28/03/2014', '31/03/2014'] | 11:00 | 0.02293 | 0.0057287 | 0.0009 | 0.0009 | 0.08007 | 555
['11/03/2014', '12/03/2014', '13/03/2014', '14/03/2014', '17/03/2014', '18/03/2014', '19/03/2014', '20/03/2014', '26/03/2014', '28/03/2014', '31/03/2014'] | 11:30 | 0.025446 | 0.0061996 | 0.0009 | 0.0009 | 0.108 | 555
['11/03/2014', '12/03/2014', '13/03/2014', '14/03/2014', '17/03/2014', '18/03/2014', '19/03/2014', '20/03/2014', '26/03/2014', '28/03/2014', '31/03/2014'] | 12:00 | 0.025769 | 0.0056059 | 0.0009 | 0.0009 | 0.10092 | 555
['11/03/2014', '12/03/2014', '13/03/2014', '14/03/2014', '17/03/2014', '18/03/2014', '19/03/2014', '20/03/2014', '26/03/2014', '28/03/2014', '31/03/2014'] | 12:30 | 0.018581 | 0.0050612 | 0.0009 | 0.0009 | 0.061703 | 555
['11/03/2014', '12/03/2014', '13/03/2014', '14/03/2014', '17/03/2014', '18/03/2014', '19/03/2014', '20/03/2014', '26/03/2014', '28/03/2014', '31/03/2014'] | 13:00 | 0.016016 | 0.0043714 | 0.0009 | 0.0009 | 0.034373 | 555
['11/03/2014', '12/03/2014', '13/03/2014', '14/03/2014', '17/03/2014', '18/03/2014', '19/03/2014', '20/03/2014', '26/03/2014', '28/03/2014', '31/03/2014'] | 13:30 | 0.018882 | 0.0054985 | 0.0009 | 0.0009 | 0.012117 | 555
['11/03/2014', '12/03/2014', '13/03/2014', '14/03/2014', '17/03/2014', '18/03/2014', '19/03/2014', '20/03/2014', '26/03/2014', '28/03/2014', '31/03/2014'] | 14:00 | 0.020827 | 0.0059414 | 0.0009 | 0.0009 | 0.004 | 555
['11/03/2014', '12/03/2014', '13/03/2014', '14/03/2014', '17/03/2014', '18/03/2014', '19/03/2014', '20/03/2014', '26/03/2014', '28/03/2014', '31/03/2014'] | 14:30 | 0.019679 | 0.0050905 | 0.0009 | 0.0009 | 0.004 | 555
['11/03/2014', '12/03/2014', '13/03/2014', '14/03/2014', '17/03/2014', '18/03/2014', '19/03/2014', '20/03/2014', '26/03/2014', '28/03/2014', '31/03/2014'] | 15:00 | 0.014254 | 0.0038755 | 0.0009 | 0.0009 | 0.004 | 555
['11/03/2014', '12/03/2014', '13/03/2014', '14/03/2014', '17/03/2014', '18/03/2014', '19/03/2014', '20/03/2014', '26/03/2014', '28/03/2014', '31/03/2014'] | 15:30 | 0.0086363 | 0.0019321 | 0.0009 | 0.0009 | 0.004 | 555
['11/03/2014', '12/03/2014', '13/03/2014', '14/03/2014', '17/03/2014', '18/03/2014', '19/03/2014', '20/03/2014', '26/03/2014', '28/03/2014', '31/03/2014'] | 16:00 | 0.009021 | 0.0026278 | 0.0009 | 0.0009 | 0.0038967 | 555
['11/03/2014', '12/03/2014', '13/03/2014', '14/03/2014', '17/03/2014', '18/03/2014', '19/03/2014', '20/03/2014', '26/03/2014', '28/03/2014', '31/03/2014'] | 16:30 | 0.010347 | 0.0036945 | 0.0009 | 0.0009 | 0.003752 | 555
['11/03/2014', '12/03/2014', '13/03/2014', '14/03/2014', '17/03/2014', '18/03/2014', '19/03/2014', '20/03/2014', '26/03/2014', '28/03/2014', '31/03/2014'] | 17:00 | 0.010935 | 0.0034845 | 0.0009 | 0.0009 | 0.004 | 555
['11/03/2014', '12/03/2014', '13/03/2014', '14/03/2014', '17/03/2014', '18/03/2014', '19/03/2014', '20/03/2014', '26/03/2014', '28/03/2014', '31/03/2014'] | 17:30 | 0.011874 | 0.0041048 | 0.0009 | 0.0009 | 0.004 | 555
['11/03/2014', '12/03/2014', '13/03/2014', '14/03/2014', '17/03/2014', '18/03/2014', '19/03/2014', '20/03/2014', '26/03/2014', '28/03/2014', '31/03/2014'] | 18:00 | 0.0068429 | 0.0021992 | 0.0009 | 0.0009 | 0.004 | 555
['11/03/2014', '12/03/2014', '13/03/2014', '14/03/2014', '17/03/2014', '18/03/2014', '19/03/2014', '20/03/2014', '26/03/2014', '28/03/2014', '31/03/2014'] | 18:30 | 0.0077609 | 0.0023494 | 0.0009 | 0.0009 | 0.004 | 555
['11/03/2014', '12/03/2014', '13/03/2014', '14/03/2014', '17/03/2014', '18/03/2014', '19/03/2014', '20/03/2014', '26/03/2014', '28/03/2014', '31/03/2014'] | 19:00 | 0.0095168 | 0.0033532 | 0.0009 | 0.0009 | 0.004 | 555
['11/03/2014', '12/03/2014', '13/03/2014', '14/03/2014', '17/03/2014', '18/03/2014', '19/03/2014', '20/03/2014', '26/03/2014', '28/03/2014', '31/03/2014'] | 19:30 | 0.0096787 | 0.0030253 | 0.0009 | 0.0009 | 0.004 | 555
['11/03/2014', '12/03/2014', '13/03/2014', '14/03/2014', '17/03/2014', '18/03/2014', '19/03/2014', '20/03/2014', '26/03/2014', '28/03/2014', '31/03/2014'] | 20:00 | 0.056917 | 0.0097205 | 0.0009 | 0.0009 | 0.40968 | 555
['11/03/2014', '12/03/2014', '13/03/2014', '14/03/2014', '17/03/2014', '18/03/2014', '19/03/2014', '20/03/2014', '26/03/2014', '28/03/2014', '31/03/2014'] | 20:30 | 0.042845 | 0.0080898 | 0.0009 | 0.0009 | 0.15564 | 555
['11/03/2014', '12/03/2014', '13/03/2014', '14/03/2014', '17/03/2014', '18/03/2014', '19/03/2014', '20/03/2014', '26/03/2014', '28/03/2014', '31/03/2014'] | 21:00 | 0.031683 | 0.0064598 | 0.0009 | 0.0009 | 0.13329 | 555
['11/03/2014', '12/03/2014', '13/03/2014', '14/03/2014', '17/03/2014', '18/03/2014', '19/03/2014', '20/03/2014', '26/03/2014', '28/03/2014', '31/03/2014'] | 21:30 | 0.024814 | 0.0052428 | 0.0009 | 0.0009 | 0.1161 | 555
['11/03/2014', '12/03/2014', '13/03/2014', '14/03/2014', '17/03/2014', '18/03/2014', '19/03/2014', '20/03/2014', '26/03/2014', '28/03/2014', '31/03/2014'] | 22:00 | 0.024609 | 0.0053912 | 0.0009 | 0.0009 | 0.1195 | 555
['11/03/2014', '12/03/2014', '13/03/2014', '14/03/2014', '17/03/2014', '18/03/2014', '19/03/2014', '20/03/2014', '26/03/2014', '28/03/2014', '31/03/2014'] | 22:30 | 0.015722 | 0.0038514 | 0.0009 | 0.0009 | 0.058113 | 555
['11/03/2014', '12/03/2014', '13/03/2014', '14/03/2014', '17/03/2014', '18/03/2014', '19/03/2014', '20/03/2014', '26/03/2014', '28/03/2014', '31/03/2014'] | 23:00 | 0.011282 | 0.0032621 | 0.0009 | 0.0009 | 0.00456 | 555
['11/03/2014', '12/03/2014', '13/03/2014', '14/03/2014', '17/03/2014', '18/03/2014', '19/03/2014', '20/03/2014', '26/03/2014', '28/03/2014', '31/03/2014'] | 23:30 | 0.0076374 | 0.0029454 | 0.0009 | 0.0009 | 0.0025997 | 555
4-hourly data
['11/03/2014', '12/03/2014', '13/03/2014', '14/03/2014', '17/03/2014', '18/03/2014', '19/03/2014', '20/03/2014', '26/03/2014', '28/03/2014', '31/03/2014'] | 0:00 | 0.0020979 | 0.00052987 | 0.0009 | 0.0009 | 0.0009 | 555
['11/03/2014', '12/03/2014', '13/03/2014', '14/03/2014', '17/03/2014', '18/03/2014', '19/03/2014', '20/03/2014', '26/03/2014', '28/03/2014', '31/03/2014'] | 0:30 | 0.0093298 | 0.0015458 | 0.0009 | 0.0009 | 0.053868 | 555
['11/03/2014', '12/03/2014', '13/03/2014', '14/03/2014', '17/03/2014', '18/03/2014', '19/03/2014', '20/03/2014', '26/03/2014', '28/03/2014', '31/03/2014'] | 1:00 | 0.02547 | 0.0029281 | 0.0009 | 0.0009 | 0.20756 | 555
['11/03/2014', '12/03/2014', '13/03/2014', '14/03/2014', '17/03/2014', '18/03/2014', '19/03/2014', '20/03/2014', '26/03/2014', '28/03/2014', '31/03/2014'] | 1:30 | 0.017813 | 0.0025142 | 0.0009 | 0.0009 | 0.15036 | 555
['11/03/2014', '12/03/2014', '13/03/2014', '14/03/2014', '17/03/2014', '18/03/2014', '19/03/2014', '20/03/2014', '26/03/2014', '28/03/2014', '31/03/2014'] | 2:00 | 0.009488 | 0.0016086 | 0.0009 | 0.0009 | 0.053327 | 555
['11/03/2014', '12/03/2014', '13/03/2014', '14/03/2014', '17/03/2014', '18/03/2014', '19/03/2014', '20/03/2014', '26/03/2014', '28/03/2014', '31/03/2014'] | 2:30 | 0.026943 | 0.0031933 | 0.0009 | 0.0009 | 0.22708 | 555

## 11a-Trialdays-Received
Dates | Time | Mean | SE | p5 | p50 | p95 | n
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 0:00 | 0.0028924 | 0.00089226 | 0.0009 | 0.0009 | 0.0009 | 309
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 0:30 | 0.0022426 | 0.00067921 | 0.0009 | 0.0009 | 0.0009 | 309
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 1:00 | 0.00094645 | 1.9678e-05 | 0.0009 | 0.0009 | 0.0009 | 309
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 1:30 | 0.00091003 | 1.0016e-05 | 0.0009 | 0.0009 | 0.0009 | 309
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 2:00 | 0.00091003 | 1.0016e-05 | 0.0009 | 0.0009 | 0.0009 | 309
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 2:30 | 0.00091003 | 1.0016e-05 | 0.0009 | 0.0009 | 0.0009 | 309
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 3:00 | 0.00091003 | 1.0016e-05 | 0.0009 | 0.0009 | 0.0009 | 309
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 3:30 | 0.00091003 | 1.0016e-05 | 0.0009 | 0.0009 | 0.0009 | 309
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 4:00 | 0.00091706 | 1.2208e-05 | 0.0009 | 0.0009 | 0.0009 | 309
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 4:30 | 0.00091304 | 1.0448e-05 | 0.0009 | 0.0009 | 0.0009 | 309
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 5:00 | 0.00091003 | 1.0016e-05 | 0.0009 | 0.0009 | 0.0009 | 309
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 5:30 | 0.00091003 | 1.0016e-05 | 0.0009 | 0.0009 | 0.0009 | 309
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 6:00 | 0.0052201 | 0.003053 | 0.0009 | 0.0009 | 0.0009 | 309
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 6:30 | 0.017134 | 0.0064946 | 0.0009 | 0.0009 | 0.0009 | 309
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 7:00 | 0.029868 | 0.0093229 | 0.0009 | 0.0009 | 0.04928 | 309
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 7:30 | 0.027701 | 0.0083171 | 0.0009 | 0.0009 | 0.10499 | 309
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 8:00 | 0.033306 | 0.008211 | 0.0009 | 0.0009 | 0.16223 | 309
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 8:30 | 0.028384 | 0.008455 | 0.0009 | 0.0009 | 0.11468 | 309
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 9:00 | 0.028706 | 0.0076948 | 0.0009 | 0.0009 | 0.14888 | 309
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 9:30 | 0.038697 | 0.0097353 | 0.0009 | 0.0009 | 0.17179 | 309
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 10:00 | 0.036151 | 0.0099487 | 0.0009 | 0.0009 | 0.1387 | 309
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 10:30 | 0.023142 | 0.006538 | 0.0009 | 0.0009 | 0.10761 | 309
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 11:00 | 0.025057 | 0.0075202 | 0.0009 | 0.0009 | 0.099493 | 309
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 11:30 | 0.02472 | 0.0078028 | 0.0009 | 0.0009 | 0.12372 | 309
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 12:00 | 0.026986 | 0.0078741 | 0.0009 | 0.0009 | 0.10284 | 309
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 12:30 | 0.027381 | 0.0088483 | 0.0009 | 0.0009 | 0.07782 | 309
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 13:00 | 0.021548 | 0.0067174 | 0.0009 | 0.0009 | 0.080187 | 309
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 13:30 | 0.019179 | 0.007488 | 0.0009 | 0.0009 | 0.060747 | 309
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 14:00 | 0.014564 | 0.0052495 | 0.0009 | 0.0009 | 0.025 | 309
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 14:30 | 0.021388 | 0.0070018 | 0.0009 | 0.0009 | 0.004 | 309
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 15:00 | 0.011464 | 0.0041243 | 0.0009 | 0.0009 | 0.004 | 309
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 15:30 | 0.0079269 | 0.0021112 | 0.0009 | 0.0009 | 0.004 | 309
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 16:00 | 0.0080473 | 0.0029593 | 0.0009 | 0.0009 | 0.0032353 | 309
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 16:30 | 0.011534 | 0.0054035 | 0.0009 | 0.0009 | 0.003814 | 309
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 17:00 | 0.0080193 | 0.0025565 | 0.0009 | 0.0009 | 0.004 | 309
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 17:30 | 0.0078261 | 0.0048563 | 0.0009 | 0.0009 | 0.004 | 309
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 18:00 | 0.0069062 | 0.0034443 | 0.0009 | 0.0009 | 0.004 | 309
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 18:30 | 0.0091561 | 0.0038634 | 0.0009 | 0.0009 | 0.004 | 309
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 19:00 | 0.0089008 | 0.0044957 | 0.0009 | 0.0009 | 0.004 | 309
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 19:30 | 0.011476 | 0.0047334 | 0.0009 | 0.0009 | 0.004 | 309
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 20:00 | 0.051901 | 0.012316 | 0.0009 | 0.0009 | 0.32451 | 309
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 20:30 | 0.037289 | 0.010834 | 0.0009 | 0.0009 | 0.09348 | 309
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 21:00 | 0.022115 | 0.006649 | 0.0009 | 0.0009 | 0.11273 | 309
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 21:30 | 0.025256 | 0.0069804 | 0.0009 | 0.0009 | 0.11215 | 309
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 22:00 | 0.024458 | 0.0074278 | 0.0009 | 0.0009 | 0.089507 | 309
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 22:30 | 0.012248 | 0.0039046 | 0.0009 | 0.0009 | 0.004192 | 309
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 23:00 | 0.0074929 | 0.0024739 | 0.0009 | 0.0009 | 0.004 | 309
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 23:30 | 0.0041876 | 0.001583 | 0.0009 | 0.0009 | 0.0019421 | 309
4-hourly data
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 0:00 | 0.0013236 | 0.00018591 | 0.0009 | 0.0009 | 0.0009 | 309
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 4:00 | 0.010445 | 0.0021758 | 0.0009 | 0.0009 | 0.090639 | 309
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 8:00 | 0.029729 | 0.0042518 | 0.0009 | 0.0009 | 0.20732 | 309
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 12:00 | 0.018788 | 0.0034671 | 0.0009 | 0.0009 | 0.16113 | 309
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 16:00 | 0.0089742 | 0.0020354 | 0.0009 | 0.0009 | 0.051347 | 309
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 20:00 | 0.023135 | 0.0040761 | 0.0009 | 0.0009 | 0.20176 | 309

## 11a-Controldays-received
Dates | Time | Mean | SE | p5 | p50 | p95 | n
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 0:00 | 0.001745 | 0.00057794 | 0.0009 | 0.0009 | 0.0009 | 320
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 0:30 | 0.0015363 | 0.00061732 | 0.0009 | 0.0009 | 0.0009 | 320
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 1:00 | 0.0029659 | 0.0020436 | 0.0009 | 0.0009 | 0.0009 | 320
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 1:30 | 0.0054602 | 0.0045434 | 0.0009 | 0.0009 | 0.0009 | 320
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 2:00 | 0.0045644 | 0.0028102 | 0.0009 | 0.0009 | 0.0009 | 320
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 2:30 | 0.0038701 | 0.0020999 | 0.0009 | 0.0009 | 0.0009 | 320
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 3:00 | 0.001924 | 0.0007854 | 0.0009 | 0.0009 | 0.0009 | 320
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 3:30 | 0.0013852 | 0.00033577 | 0.0009 | 0.0009 | 0.0009 | 320
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 4:00 | 0.0013284 | 0.0004133 | 0.0009 | 0.0009 | 0.0009 | 320
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 4:30 | 0.00091938 | 1.3657e-05 | 0.0009 | 0.0009 | 0.0009 | 320
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 5:00 | 0.0018621 | 0.00094895 | 0.0009 | 0.0009 | 0.0009 | 320
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 5:30 | 0.0028444 | 0.0019233 | 0.0009 | 0.0009 | 0.0009 | 320
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 6:00 | 0.0011607 | 0.00024408 | 0.0009 | 0.0009 | 0.0009 | 320
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 6:30 | 0.012173 | 0.0056728 | 0.0009 | 0.0009 | 0.0009 | 320
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 7:00 | 0.016038 | 0.0064015 | 0.0009 | 0.0009 | 0.0020622 | 320
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 7:30 | 0.032344 | 0.009643 | 0.0009 | 0.0009 | 0.067767 | 320
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 8:00 | 0.044452 | 0.010744 | 0.0009 | 0.0009 | 0.22421 | 320
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 8:30 | 0.054969 | 0.011177 | 0.0009 | 0.0009 | 0.38709 | 320
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 9:00 | 0.051406 | 0.010525 | 0.0009 | 0.0009 | 0.37541 | 320
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 9:30 | 0.040678 | 0.0087107 | 0.0009 | 0.0009 | 0.20122 | 320
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 10:00 | 0.03297 | 0.0083147 | 0.0009 | 0.0009 | 0.13833 | 320
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 10:30 | 0.023923 | 0.0069412 | 0.0009 | 0.0009 | 0.1006 | 320
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 11:00 | 0.031188 | 0.008735 | 0.0009 | 0.0009 | 0.14319 | 320
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 11:30 | 0.019307 | 0.0061257 | 0.0009 | 0.0009 | 0.080977 | 320
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 12:00 | 0.023559 | 0.0074615 | 0.0009 | 0.0009 | 0.084943 | 320
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 12:30 | 0.033768 | 0.0095017 | 0.0009 | 0.0009 | 0.12215 | 320
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 13:00 | 0.019041 | 0.0050669 | 0.0009 | 0.0009 | 0.12179 | 320
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 13:30 | 0.03027 | 0.0093959 | 0.0009 | 0.0009 | 0.10003 | 320
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 14:00 | 0.02015 | 0.0060299 | 0.0009 | 0.0009 | 0.11395 | 320
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 14:30 | 0.018422 | 0.0049297 | 0.0009 | 0.0009 | 0.076238 | 320
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 15:00 | 0.017347 | 0.0061956 | 0.0009 | 0.0009 | 0.006455 | 320
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 15:30 | 0.01204 | 0.0036955 | 0.0009 | 0.0009 | 0.05761 | 320
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 16:00 | 0.020751 | 0.0074855 | 0.0009 | 0.0009 | 0.051533 | 320
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 16:30 | 0.011041 | 0.003551 | 0.0009 | 0.0009 | 0.004147 | 320
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 17:00 | 0.025131 | 0.0089978 | 0.0009 | 0.0009 | 0.046943 | 320
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 17:30 | 0.021713 | 0.0072172 | 0.0009 | 0.0009 | 0.004 | 320
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 18:00 | 0.032633 | 0.0098204 | 0.0009 | 0.0009 | 0.099923 | 320
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 18:30 | 0.022176 | 0.0069754 | 0.0009 | 0.0009 | 0.095285 | 320
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 19:00 | 0.016692 | 0.0056512 | 0.0009 | 0.0009 | 0.080512 | 320
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 19:30 | 0.013378 | 0.0045016 | 0.0009 | 0.0009 | 0.0084733 | 320
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 20:00 | 0.044908 | 0.012169 | 0.0009 | 0.0009 | 0.14768 | 320
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 20:30 | 0.023444 | 0.0069785 | 0.0009 | 0.0009 | 0.092608 | 320
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 21:00 | 0.019294 | 0.0047667 | 0.0009 | 0.0009 | 0.10894 | 320
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 21:30 | 0.02375 | 0.0070269 | 0.0009 | 0.0009 | 0.088732 | 320
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 22:00 | 0.026134 | 0.0092373 | 0.0009 | 0.0009 | 0.00857 | 320
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 22:30 | 0.012925 | 0.0052607 | 0.0009 | 0.0009 | 0.0031904 | 320
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 23:00 | 0.009364 | 0.0036216 | 0.0009 | 0.0009 | 0.00092422 | 320
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 23:30 | 0.0050344 | 0.0026544 | 0.0009 | 0.0009 | 0.0009 | 320
4-hourly data
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 0:00 | 0.0029426 | 0.001505 | 0.0009 | 0.0009 | 0.0009 | 320
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 4:00 | 0.0085788 | 0.001959 | 0.0009 | 0.0009 | 0.045819 | 320
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 8:00 | 0.037322 | 0.0048931 | 0.0009 | 0.0009 | 0.23576 | 320
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 12:00 | 0.02181 | 0.0035186 | 0.0009 | 0.0009 | 0.17032 | 320
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 16:00 | 0.020414 | 0.0034603 | 0.0009 | 0.0009 | 0.14371 | 320
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 20:00 | 0.02062 | 0.0036516 | 0.0009 | 0.0009 | 0.19459 | 320

## 11a-Controldays-all
Dates | Time | Mean | SE | p5 | p50 | p95 | n
['04/03/2014', '26/02/2014', '06/03/2014', '07/03/2014', '10/03/2014', '25/03/2014', '05/03/2014', '27/03/2014', '02/04/2014', '21/03/2014', '24/03/2014'] | 0:00 | 0.0064689 | 0.0029424 | 0.0009 | 0.0009 | 0.0009 | 625
['04/03/2014', '26/02/2014', '06/03/2014', '07/03/2014', '10/03/2014', '25/03/2014', '05/03/2014', '27/03/2014', '02/04/2014', '21/03/2014', '24/03/2014'] | 0:30 | 0.0029231 | 0.001103 | 0.0009 | 0.0009 | 0.0009 | 625
['04/03/2014', '26/02/2014', '06/03/2014', '07/03/2014', '10/03/2014', '25/03/2014', '05/03/2014', '27/03/2014', '02/04/2014', '21/03/2014', '24/03/2014'] | 1:00 | 0.0030022 | 0.0011473 | 0.0009 | 0.0009 | 0.0009 | 625
['04/03/2014', '26/02/2014', '06/03/2014', '07/03/2014', '10/03/2014', '25/03/2014', '05/03/2014', '27/03/2014', '02/04/2014', '21/03/2014', '24/03/2014'] | 1:30 | 0.0036749 | 0.0023452 | 0.0009 | 0.0009 | 0.0009 | 625
['04/03/2014', '26/02/2014', '06/03/2014', '07/03/2014', '10/03/2014', '25/03/2014', '05/03/2014', '27/03/2014', '02/04/2014', '21/03/2014', '24/03/2014'] | 2:00 | 0.0027816 | 0.0014407 | 0.0009 | 0.0009 | 0.0009 | 625
['04/03/2014', '26/02/2014', '06/03/2014', '07/03/2014', '10/03/2014', '25/03/2014', '05/03/2014', '27/03/2014', '02/04/2014', '21/03/2014', '24/03/2014'] | 2:30 | 0.0024207 | 0.0010768 | 0.0009 | 0.0009 | 0.0009 | 625
['04/03/2014', '26/02/2014', '06/03/2014', '07/03/2014', '10/03/2014', '25/03/2014', '05/03/2014', '27/03/2014', '02/04/2014', '21/03/2014', '24/03/2014'] | 3:00 | 0.0014243 | 0.00040264 | 0.0009 | 0.0009 | 0.0009 | 625
['04/03/2014', '26/02/2014', '06/03/2014', '07/03/2014', '10/03/2014', '25/03/2014', '05/03/2014', '27/03/2014', '02/04/2014', '21/03/2014', '24/03/2014'] | 3:30 | 0.0011484 | 0.00017219 | 0.0009 | 0.0009 | 0.0009 | 625
['04/03/2014', '26/02/2014', '06/03/2014', '07/03/2014', '10/03/2014', '25/03/2014', '05/03/2014', '27/03/2014', '02/04/2014', '21/03/2014', '24/03/2014'] | 4:00 | 0.0011193 | 0.00021178 | 0.0009 | 0.0009 | 0.0009 | 625
['04/03/2014', '26/02/2014', '06/03/2014', '07/03/2014', '10/03/2014', '25/03/2014', '05/03/2014', '27/03/2014', '02/04/2014', '21/03/2014', '24/03/2014'] | 4:30 | 0.00090992 | 7.0033e-06 | 0.0009 | 0.0009 | 0.0009 | 625
['04/03/2014', '26/02/2014', '06/03/2014', '07/03/2014', '10/03/2014', '25/03/2014', '05/03/2014', '27/03/2014', '02/04/2014', '21/03/2014', '24/03/2014'] | 5:00 | 0.0020698 | 0.00083261 | 0.0009 | 0.0009 | 0.0009 | 625
['04/03/2014', '26/02/2014', '06/03/2014', '07/03/2014', '10/03/2014', '25/03/2014', '05/03/2014', '27/03/2014', '02/04/2014', '21/03/2014', '24/03/2014'] | 5:30 | 0.0020049 | 0.00099137 | 0.0009 | 0.0009 | 0.0009 | 625
['04/03/2014', '26/02/2014', '06/03/2014', '07/03/2014', '10/03/2014', '25/03/2014', '05/03/2014', '27/03/2014', '02/04/2014', '21/03/2014', '24/03/2014'] | 6:00 | 0.003254 | 0.0016405 | 0.0009 | 0.0009 | 0.0009 | 625
['04/03/2014', '26/02/2014', '06/03/2014', '07/03/2014', '10/03/2014', '25/03/2014', '05/03/2014', '27/03/2014', '02/04/2014', '21/03/2014', '24/03/2014'] | 6:30 | 0.010207 | 0.0034682 | 0.0009 | 0.0009 | 0.0009 | 625
['04/03/2014', '26/02/2014', '06/03/2014', '07/03/2014', '10/03/2014', '25/03/2014', '05/03/2014', '27/03/2014', '02/04/2014', '21/03/2014', '24/03/2014'] | 7:00 | 0.018157 | 0.0051508 | 0.0009 | 0.0009 | 0.00098267 | 625
['04/03/2014', '26/02/2014', '06/03/2014', '07/03/2014', '10/03/2014', '25/03/2014', '05/03/2014', '27/03/2014', '02/04/2014', '21/03/2014', '24/03/2014'] | 7:30 | 0.031271 | 0.0066519 | 0.0009 | 0.0009 | 0.051313 | 625
['04/03/2014', '26/02/2014', '06/03/2014', '07/03/2014', '10/03/2014', '25/03/2014', '05/03/2014', '27/03/2014', '02/04/2014', '21/03/2014', '24/03/2014'] | 8:00 | 0.037743 | 0.0071779 | 0.0009 | 0.0009 | 0.18697 | 625
['04/03/2014', '26/02/2014', '06/03/2014', '07/03/2014', '10/03/2014', '25/03/2014', '05/03/2014', '27/03/2014', '02/04/2014', '21/03/2014', '24/03/2014'] | 8:30 | 0.043666 | 0.0073254 | 0.0009 | 0.0009 | 0.29572 | 625
['04/03/2014', '26/02/2014', '06/03/2014', '07/03/2014', '10/03/2014', '25/03/2014', '05/03/2014', '27/03/2014', '02/04/2014', '21/03/2014', '24/03/2014'] | 9:00 | 0.037636 | 0.0063301 | 0.0009 | 0.0009 | 0.13803 | 625
['04/03/2014', '26/02/2014', '06/03/2014', '07/03/2014', '10/03/2014', '25/03/2014', '05/03/2014', '27/03/2014', '02/04/2014', '21/03/2014', '24/03/2014'] | 9:30 | 0.041726 | 0.0063528 | 0.0009 | 0.0009 | 0.22458 | 625
['04/03/2014', '26/02/2014', '06/03/2014', '07/03/2014', '10/03/2014', '25/03/2014', '05/03/2014', '27/03/2014', '02/04/2014', '21/03/2014', '24/03/2014'] | 10:00 | 0.031662 | 0.0062475 | 0.0009 | 0.0009 | 0.12584 | 625
['04/03/2014', '26/02/2014', '06/03/2014', '07/03/2014', '10/03/2014', '25/03/2014', '05/03/2014', '27/03/2014', '02/04/2014', '21/03/2014', '24/03/2014'] | 10:30 | 0.018347 | 0.0038935 | 0.0009 | 0.0009 | 0.095947 | 625
['04/03/2014', '26/02/2014', '06/03/2014', '07/03/2014', '10/03/2014', '25/03/2014', '05/03/2014', '27/03/2014', '02/04/2014', '21/03/2014', '24/03/2014'] | 11:00 | 0.024082 | 0.0055417 | 0.0009 | 0.0009 | 0.10472 | 625
['04/03/2014', '26/02/2014', '06/03/2014', '07/03/2014', '10/03/2014', '25/03/2014', '05/03/2014', '27/03/2014', '02/04/2014', '21/03/2014', '24/03/2014'] | 11:30 | 0.014751 | 0.0038159 | 0.0009 | 0.0009 | 0.045613 | 625
['04/03/2014', '26/02/2014', '06/03/2014', '07/03/2014', '10/03/2014', '25/03/2014', '05/03/2014', '27/03/2014', '02/04/2014', '21/03/2014', '24/03/2014'] | 12:00 | 0.021731 | 0.0053472 | 0.0009 | 0.0009 | 0.0041813 | 625
['04/03/2014', '26/02/2014', '06/03/2014', '07/03/2014', '10/03/2014', '25/03/2014', '05/03/2014', '27/03/2014', '02/04/2014', '21/03/2014', '24/03/2014'] | 12:30 | 0.025801 | 0.006089 | 0.0009 | 0.0009 | 0.102 | 625
['04/03/2014', '26/02/2014', '06/03/2014', '07/03/2014', '10/03/2014', '25/03/2014', '05/03/2014', '27/03/2014', '02/04/2014', '21/03/2014', '24/03/2014'] | 13:00 | 0.018127 | 0.0038889 | 0.0009 | 0.0009 | 0.09248 | 625
['04/03/2014', '26/02/2014', '06/03/2014', '07/03/2014', '10/03/2014', '25/03/2014', '05/03/2014', '27/03/2014', '02/04/2014', '21/03/2014', '24/03/2014'] | 13:30 | 0.023552 | 0.0055201 | 0.0009 | 0.0009 | 0.082507 | 625
['04/03/2014', '26/02/2014', '06/03/2014', '07/03/2014', '10/03/2014', '25/03/2014', '05/03/2014', '27/03/2014', '02/04/2014', '21/03/2014', '24/03/2014'] | 14:00 | 0.016099 | 0.0037935 | 0.0009 | 0.0009 | 0.082235 | 625
['04/03/2014', '26/02/2014', '06/03/2014', '07/03/2014', '10/03/2014', '25/03/2014', '05/03/2014', '27/03/2014', '02/04/2014', '21/03/2014', '24/03/2014'] | 14:30 | 0.014042 | 0.0031927 | 0.0009 | 0.0009 | 0.004 | 625
['04/03/2014', '26/02/2014', '06/03/2014', '07/03/2014', '10/03/2014', '25/03/2014', '05/03/2014', '27/03/2014', '02/04/2014', '21/03/2014', '24/03/2014'] | 15:00 | 0.012671 | 0.0033951 | 0.0009 | 0.0009 | 0.003566 | 625
['04/03/2014', '26/02/2014', '06/03/2014', '07/03/2014', '10/03/2014', '25/03/2014', '05/03/2014', '27/03/2014', '02/04/2014', '21/03/2014', '24/03/2014'] | 15:30 | 0.010516 | 0.0034275 | 0.0009 | 0.0009 | 0.0037184 | 625
['04/03/2014', '26/02/2014', '06/03/2014', '07/03/2014', '10/03/2014', '25/03/2014', '05/03/2014', '27/03/2014', '02/04/2014', '21/03/2014', '24/03/2014'] | 16:00 | 0.015428 | 0.0044021 | 0.0009 | 0.0009 | 0.0037727 | 625
['04/03/2014', '26/02/2014', '06/03/2014', '07/03/2014', '10/03/2014', '25/03/2014', '05/03/2014', '27/03/2014', '02/04/2014', '21/03/2014', '24/03/2014'] | 16:30 | 0.0079034 | 0.0022621 | 0.0009 | 0.0009 | 0.003411 | 625
['04/03/2014', '26/02/2014', '06/03/2014', '07/03/2014', '10/03/2014', '25/03/2014', '05/03/2014', '27/03/2014', '02/04/2014', '21/03/2014', '24/03/2014'] | 17:00 | 0.018212 | 0.0050986 | 0.0009 | 0.0009 | 0.004 | 625
['04/03/2014', '26/02/2014', '06/03/2014', '07/03/2014', '10/03/2014', '25/03/2014', '05/03/2014', '27/03/2014', '02/04/2014', '21/03/2014', '24/03/2014'] | 17:30 | 0.019411 | 0.0051271 | 0.0009 | 0.0009 | 0.003876 | 625
['04/03/2014', '26/02/2014', '06/03/2014', '07/03/2014', '10/03/2014', '25/03/2014', '05/03/2014', '27/03/2014', '02/04/2014', '21/03/2014', '24/03/2014'] | 18:00 | 0.030235 | 0.0068753 | 0.0009 | 0.0009 | 0.039291 | 625
['04/03/2014', '26/02/2014', '06/03/2014', '07/03/2014', '10/03/2014', '25/03/2014', '05/03/2014', '27/03/2014', '02/04/2014', '21/03/2014', '24/03/2014'] | 18:30 | 0.015586 | 0.0038487 | 0.0009 | 0.0009 | 0.0489 | 625
['04/03/2014', '26/02/2014', '06/03/2014', '07/03/2014', '10/03/2014', '25/03/2014', '05/03/2014', '27/03/2014', '02/04/2014', '21/03/2014', '24/03/2014'] | 19:00 | 0.01719 | 0.0042315 | 0.0009 | 0.0009 | 0.045987 | 625
['04/03/2014', '26/02/2014', '06/03/2014', '07/03/2014', '10/03/2014', '25/03/2014', '05/03/2014', '27/03/2014', '02/04/2014', '21/03/2014', '24/03/2014'] | 19:30 | 0.013222 | 0.0032791 | 0.0009 | 0.0009 | 0.0093787 | 625
['04/03/2014', '26/02/2014', '06/03/2014', '07/03/2014', '10/03/2014', '25/03/2014', '05/03/2014', '27/03/2014', '02/04/2014', '21/03/2014', '24/03/2014'] | 20:00 | 0.055665 | 0.0089797 | 0.0009 | 0.0009 | 0.39133 | 625
['04/03/2014', '26/02/2014', '06/03/2014', '07/03/2014', '10/03/2014', '25/03/2014', '05/03/2014', '27/03/2014', '02/04/2014', '21/03/2014', '24/03/2014'] | 20:30 | 0.034931 | 0.006267 | 0.0009 | 0.0009 | 0.18846 | 625
['04/03/2014', '26/02/2014', '06/03/2014', '07/03/2014', '10/03/2014', '25/03/2014', '05/03/2014', '27/03/2014', '02/04/2014', '21/03/2014', '24/03/2014'] | 21:00 | 0.034143 | 0.0061188 | 0.0009 | 0.0009 | 0.15383 | 625
['04/03/2014', '26/02/2014', '06/03/2014', '07/03/2014', '10/03/2014', '25/03/2014', '05/03/2014', '27/03/2014', '02/04/2014', '21/03/2014', '24/03/2014'] | 21:30 | 0.025062 | 0.0050303 | 0.0009 | 0.0009 | 0.11394 | 625
['04/03/2014', '26/02/2014', '06/03/2014', '07/03/2014', '10/03/2014', '25/03/2014', '05/03/2014', '27/03/2014', '02/04/2014', '21/03/2014', '24/03/2014'] | 22:00 | 0.021894 | 0.0054224 | 0.0009 | 0.0009 | 0.085213 | 625
['04/03/2014', '26/02/2014', '06/03/2014', '07/03/2014', '10/03/2014', '25/03/2014', '05/03/2014', '27/03/2014', '02/04/2014', '21/03/2014', '24/03/2014'] | 22:30 | 0.011628 | 0.0031159 | 0.0009 | 0.0009 | 0.004 | 625
['04/03/2014', '26/02/2014', '06/03/2014', '07/03/2014', '10/03/2014', '25/03/2014', '05/03/2014', '27/03/2014', '02/04/2014', '21/03/2014', '24/03/2014'] | 23:00 | 0.010714 | 0.002878 | 0.0009 | 0.0009 | 0.002512 | 625
['04/03/2014', '26/02/2014', '06/03/2014', '07/03/2014', '10/03/2014', '25/03/2014', '05/03/2014', '27/03/2014', '02/04/2014', '21/03/2014', '24/03/2014'] | 23:30 | 0.010617 | 0.0041844 | 0.0009 | 0.0009 | 0.0009 | 625
4-hourly data
['04/03/2014', '26/02/2014', '06/03/2014', '07/03/2014', '10/03/2014', '25/03/2014', '05/03/2014', '27/03/2014', '02/04/2014', '21/03/2014', '24/03/2014'] | 0:00 | 0.0029415 | 0.00093354 | 0.0009 | 0.0009 | 0.0009 | 625
['04/03/2014', '26/02/2014', '06/03/2014', '07/03/2014', '10/03/2014', '25/03/2014', '05/03/2014', '27/03/2014', '02/04/2014', '21/03/2014', '24/03/2014'] | 4:00 | 0.0086193 | 0.0014757 | 0.0009 | 0.0009 | 0.039664 | 625
['04/03/2014', '26/02/2014', '06/03/2014', '07/03/2014', '10/03/2014', '25/03/2014', '05/03/2014', '27/03/2014', '02/04/2014', '21/03/2014', '24/03/2014'] | 8:00 | 0.031167 | 0.0032615 | 0.0009 | 0.0009 | 0.21929 | 625
['04/03/2014', '26/02/2014', '06/03/2014', '07/03/2014', '10/03/2014', '25/03/2014', '05/03/2014', '27/03/2014', '02/04/2014', '21/03/2014', '24/03/2014'] | 12:00 | 0.017809 | 0.0023655 | 0.0009 | 0.0009 | 0.16431 | 625
['04/03/2014', '26/02/2014', '06/03/2014', '07/03/2014', '10/03/2014', '25/03/2014', '05/03/2014', '27/03/2014', '02/04/2014', '21/03/2014', '24/03/2014'] | 16:00 | 0.017129 | 0.0024273 | 0.0009 | 0.0009 | 0.12851 | 625
['04/03/2014', '26/02/2014', '06/03/2014', '07/03/2014', '10/03/2014', '25/03/2014', '05/03/2014', '27/03/2014', '02/04/2014', '21/03/2014', '24/03/2014'] | 20:00 | 0.025592 | 0.002833 | 0.0009 | 0.0009 | 0.2073 | 625

## 2a-Controldays
Dates | Time | Mean | SE | p5 | p50 | p95 | n
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 0:00 | 0.014625 | 0.0053071 | 0 | 0 | 0.016465 | 500
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 0:30 | 0.0077011 | 0.0030116 | 0 | 0 | 0.0075483 | 500
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 1:00 | 0.011324 | 0.0054781 | 0 | 0 | 0.011652 | 500
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 1:30 | 0.0037457 | 0.0021788 | 0 | 0 | 0.0022683 | 500
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 2:00 | 0.0017403 | 0.00041324 | 0 | 0 | 0.0023383 | 500
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 2:30 | 0.0007862 | 0.0002037 | 0 | 0 | 0.0020383 | 500
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 3:00 | 0.0013713 | 0.00031455 | 0 | 0 | 0.0023033 | 500
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 3:30 | 0.00095393 | 0.00026842 | 0 | 0 | 0.0020333 | 500
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 4:00 | 0.0026344 | 0.0014176 | 0 | 0 | 0.0022333 | 500
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 4:30 | 0.0020608 | 0.00094554 | 0 | 0 | 0.0021017 | 500
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 5:00 | 0.0042155 | 0.0021338 | 0 | 0 | 0.0023333 | 500
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 5:30 | 0.010556 | 0.004299 | 0 | 0 | 0.0024033 | 500
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 6:00 | 0.013597 | 0.0043139 | 0 | 0 | 0.010233 | 500
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 6:30 | 0.024544 | 0.0052709 | 0 | 0 | 0.06875 | 500
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 7:00 | 0.053631 | 0.012295 | 0 | 0 | 0.23882 | 500
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 7:30 | 0.07799 | 0.013413 | 0 | 0 | 0.62688 | 500
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 8:00 | 0.089 | 0.014727 | 0 | 0 | 0.73509 | 500
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 8:30 | 0.055566 | 0.010313 | 0 | 0 | 0.38703 | 500
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 9:00 | 0.054634 | 0.010641 | 0 | 0 | 0.34986 | 500
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 9:30 | 0.064177 | 0.011798 | 0 | 0 | 0.45469 | 500
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 10:00 | 0.041087 | 0.0077204 | 0 | 0 | 0.18332 | 500
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 10:30 | 0.054306 | 0.010863 | 0 | 0 | 0.2373 | 500
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 11:00 | 0.067988 | 0.012858 | 0 | 0 | 0.46423 | 500
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 11:30 | 0.07569 | 0.013315 | 0 | 0 | 0.76599 | 500
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 12:00 | 0.073071 | 0.012608 | 0 | 0 | 0.73272 | 500
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 12:30 | 0.057321 | 0.01063 | 0 | 0 | 0.33969 | 500
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 13:00 | 0.039347 | 0.0084896 | 0 | 0 | 0.11803 | 500
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 13:30 | 0.062138 | 0.012966 | 0 | 0 | 0.31952 | 500
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 14:00 | 0.053407 | 0.01158 | 0 | 0 | 0.15635 | 500
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 14:30 | 0.051885 | 0.01105 | 0 | 0 | 0.24575 | 500
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 15:00 | 0.060295 | 0.012837 | 0 | 0 | 0.17328 | 500
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 15:30 | 0.055433 | 0.011129 | 0 | 0 | 0.2957 | 500
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 16:00 | 0.060944 | 0.011267 | 0 | 0 | 0.44088 | 500
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 16:30 | 0.053281 | 0.010642 | 0 | 0 | 0.34823 | 500
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 17:00 | 0.05159 | 0.010562 | 0 | 0 | 0.19807 | 500
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 17:30 | 0.050442 | 0.0097061 | 0 | 0 | 0.29112 | 500
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 18:00 | 0.075883 | 0.012773 | 0 | 0 | 0.55682 | 500
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 18:30 | 0.086009 | 0.014974 | 0 | 0 | 0.63756 | 500
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 19:00 | 0.082419 | 0.013871 | 0 | 0 | 0.66813 | 500
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 19:30 | 0.067047 | 0.011755 | 0 | 0 | 0.41795 | 500
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 20:00 | 0.070651 | 0.011111 | 0 | 0 | 0.59289 | 500
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 20:30 | 0.071859 | 0.011286 | 0 | 0 | 0.65021 | 500
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 21:00 | 0.077468 | 0.012672 | 0 | 0 | 0.72694 | 500
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 21:30 | 0.066911 | 0.012699 | 0 | 0 | 0.44218 | 500
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 22:00 | 0.064524 | 0.011493 | 0 | 0 | 0.61525 | 500
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 22:30 | 0.050004 | 0.010948 | 0 | 0 | 0.2297 | 500
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 23:00 | 0.060366 | 0.013225 | 0 | 0 | 0.18854 | 500
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 23:30 | 0.051037 | 0.011919 | 0 | 0 | 0.12186 | 500
4-hourly data
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 0:00 | 0.0052809 | 0.0015163 | 0 | 0 | 0.0204 | 500
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 4:00 | 0.023654 | 0.0032838 | 0 | 0 | 0.17016 | 500
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 8:00 | 0.062806 | 0.0066076 | 0 | 0 | 0.38006 | 500
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 12:00 | 0.056612 | 0.0071287 | 0 | 0 | 0.3347 | 500
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 16:00 | 0.065952 | 0.0064945 | 0 | 0 | 0.40962 | 500
['25/03/2014', '21/03/2014', '06/03/2014', '27/03/2014', '07/03/2014', '04/03/2014', '02/04/2014', '10/03/2014', '26/02/2014', '05/03/2014', '24/03/2014'] | 20:00 | 0.064157 | 0.0064897 | 0 | 0 | 0.42282 | 500

## 2a-Trialdays
Dates | Time | Mean | SE | p5 | p50 | p95 | n
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 0:00 | 0.026308 | 0.01017 | 0 | 0 | 0.024683 | 455
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 0:30 | 0.01336 | 0.0049718 | 0 | 0 | 0.00681 | 455
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 1:00 | 0.010472 | 0.0048604 | 0 | 0 | 0.0075967 | 455
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 1:30 | 0.0060236 | 0.0034542 | 0 | 0 | 0.0023 | 455
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 2:00 | 0.0012615 | 0.00032729 | 0 | 0 | 0.0022767 | 455
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 2:30 | 0.0011256 | 0.00030449 | 0 | 0 | 0.00231 | 455
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 3:00 | 0.0012995 | 0.00034409 | 0 | 0 | 0.0023333 | 455
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 3:30 | 0.0011197 | 0.00030237 | 0 | 0 | 0.00232 | 455
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 4:00 | 0.0013069 | 0.00035504 | 0 | 0 | 0.0023767 | 455
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 4:30 | 0.0030978 | 0.0019166 | 0 | 0 | 0.0022333 | 455
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 5:00 | 0.0047221 | 0.0024132 | 0 | 0 | 0.0023533 | 455
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 5:30 | 0.0082322 | 0.0033573 | 0 | 0 | 0.0025433 | 455
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 6:00 | 0.014711 | 0.0047735 | 0 | 0 | 0.012207 | 455
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 6:30 | 0.038455 | 0.0085547 | 0 | 0 | 0.19215 | 455
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 7:00 | 0.065151 | 0.013538 | 0 | 0 | 0.38041 | 455
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 7:30 | 0.061353 | 0.012857 | 0 | 0 | 0.30284 | 455
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 8:00 | 0.054908 | 0.012265 | 0 | 0 | 0.15131 | 455
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 8:30 | 0.049641 | 0.011364 | 0 | 0 | 0.15417 | 455
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 9:00 | 0.058918 | 0.011019 | 0 | 0 | 0.38768 | 455
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 9:30 | 0.069418 | 0.014202 | 0 | 0 | 0.30928 | 455
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 10:00 | 0.065556 | 0.012644 | 0 | 0 | 0.35972 | 455
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 10:30 | 0.050228 | 0.011226 | 0 | 0 | 0.1117 | 455
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 11:00 | 0.061761 | 0.012509 | 0 | 0 | 0.35744 | 455
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 11:30 | 0.043862 | 0.010218 | 0 | 0 | 0.14925 | 455
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 12:00 | 0.044619 | 0.010803 | 0 | 0 | 0.088733 | 455
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 12:30 | 0.070707 | 0.014854 | 0 | 0 | 0.49436 | 455
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 13:00 | 0.064828 | 0.013193 | 0 | 0 | 0.47874 | 455
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 13:30 | 0.072374 | 0.012993 | 0 | 0 | 0.75469 | 455
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 14:00 | 0.049493 | 0.01122 | 0 | 0 | 0.15051 | 455
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 14:30 | 0.054952 | 0.012192 | 0 | 0 | 0.15254 | 455
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 15:00 | 0.051171 | 0.011185 | 0 | 0 | 0.2617 | 455
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 15:30 | 0.058414 | 0.014339 | 0 | 0 | 0.096513 | 455
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 16:00 | 0.048368 | 0.010093 | 0 | 0 | 0.29481 | 455
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 16:30 | 0.041068 | 0.010568 | 0 | 0 | 0.08755 | 455
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 17:00 | 0.054862 | 0.012653 | 0 | 0 | 0.26037 | 455
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 17:30 | 0.066527 | 0.012459 | 0 | 0 | 0.45171 | 455
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 18:00 | 0.086214 | 0.016242 | 0 | 0 | 0.75098 | 455
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 18:30 | 0.09796 | 0.016217 | 0 | 0 | 0.8263 | 455
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 19:00 | 0.078659 | 0.013068 | 0 | 0 | 0.63082 | 455
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 19:30 | 0.073722 | 0.013114 | 0 | 0 | 0.52299 | 455
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 20:00 | 0.071159 | 0.013548 | 0 | 0 | 0.63196 | 455
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 20:30 | 0.051188 | 0.010915 | 0 | 0 | 0.22364 | 455
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 21:00 | 0.073021 | 0.014639 | 0 | 0 | 0.49005 | 455
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 21:30 | 0.049509 | 0.0096785 | 0 | 0 | 0.35546 | 455
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 22:00 | 0.038976 | 0.0097251 | 0 | 0 | 0.075123 | 455
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 22:30 | 0.04054 | 0.010547 | 0 | 0 | 0.088743 | 455
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 23:00 | 0.048029 | 0.011416 | 0 | 0 | 0.10312 | 455
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 23:30 | 0.04027 | 0.0093362 | 0 | 0 | 0.0674 | 455
4-hourly data
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 0:00 | 0.0076212 | 0.0021545 | 0 | 0 | 0.02306 | 455
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 4:00 | 0.024629 | 0.0036396 | 0 | 0 | 0.19933 | 455
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 8:00 | 0.056786 | 0.0065924 | 0 | 0 | 0.37123 | 455
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 12:00 | 0.05832 | 0.0078638 | 0 | 0 | 0.42659 | 455
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 16:00 | 0.068422 | 0.00759 | 0 | 0 | 0.43462 | 455
['20/03/2014', '18/03/2014', '31/03/2014', '12/03/2014', '14/03/2014', '17/03/2014', '26/03/2014', '13/03/2014', '28/03/2014', '19/03/2014', '11/03/2014'] | 20:00 | 0.051634 | 0.0060877 | 0 | 0 | 0.31131 | 455